Revised 7/29/19

Tenant Improvement Handbook

Table of Contents

GENERAL PROJECT INFORMATION

- Project Fact Sheet

TENANT CONSTRUCTION INFORMATION

- Tenant Improvement Construction Information

- Food Tenant Design Requirements / Exhibits

STOREFRONT SECURITY SYSTEMS

CONTRACTOR RULES & REGULATIONS/SITE SPECIFIC CONTRACTOR

RULES & REGULATIONS/CENTER REQUIRED VENDORS

- Access these documents at www.Simon.com

To obtain a copy of the Tenant Handbook, Contractor Rules & Regulations,

Storefront Criteria & Signage Criteria, please go to www.Simon.com and follow the

steps below:

Click on the ‘BUSINESSES’ tab along the top right.

Type the name of your property in the ‘Search by Property Name or Location’

search engine and select from the drop down menu.

This link will lead you to the ‘Property Overview’ page.

Scroll down, and look for the ‘Tenant Info Package’ link along the right hand side.

Download the Storefront Criteria, Sign Criteria & Contractor Rules & Regulations

and Site Specific Contractor Rules and Regulations.

SIGN CRITERIA/STOREFRONT CRITERIA

•	Access these documents at www.Simon.com

Project Fact Sheet

Landlord:				Jersey Shore Premium Outlets, LLC

c/o Simon Property Group – Premium Outlets

60 Columbia Road

Building B, 3rd Floor

Morristown, New Jersey 07960

Phone: 973-228-6111

Fax:      973-683-1359

Center Address:			Jersey Shore Premium Outlets, LLC

One Premium Outlets Blvd.

Tinton Falls, NJ 07753

Phone: 732-918-1700

Fax:      732-918-1600

Important Telephone Numbers

# Tinton Falls Building Department/Fire Prevention Bureau

# 556 Tinton Ave.

# Tinton Falls, NJ 07724

# PHONE: 732-542-3400

# FAX: 732-578-9003

Building@tintonfalls.com

# To Schedule Inspections or General Information

Call 732.542.3400 ext 238

(DO NOT CALL INSPECTORS TO SCHEDULE INSPECTIONS!!)

Inspectors

Robert A. Corby

Construction Official

Building Subcode Official

Ext 241

Cary Costa

Fire Subcode Official

Ext 236

John Cavaliere

Plumbing Subcode Official

Ext 233

(Mon, Wed, Fri)

John Sodon

Electric Subcode Official

Ext 242

(Mon, Wed, Fri Mornings)

Office Staff

Theresa Bundy

Office Manager/Administrative Assistant

Ext 212

tbundy@tintonfalls.com

~~~~~~~~~~~~~~

Kathy Bowles

Technical Assistant

Ext 217

kbowles@tintonfalls.com

Vicki DeLorenzo

Technical Assistant

Ext 237

vdelorenzo@tintonfalls.com

Important Telephone Numbers

# Tinton Falls Building Department/Fire Prevention Bureau (con’t)

# PHONE: 732-542-3400

# FAX: 732-578-9003

Building@tintonfalls.com

Fire Prevention Bureau

Cary Costa

Fire Marshal

Ext 236

~~~~~~~~~~~~~

Dave Boehning

Fire Protection Inspector

Ext 235

Victoria DeLorenzo

Office Assistant

Ext 237

Theresa Bundy

Office Manager

Ext 212

Zoning

Phone: 732-542-2400

Lori Paone

# Ext 228

##### Tenant Improvement Construction Information

Please provide Landlord with one (1) full size set of prints, and one (1) electronic file for the plan review/approval process.  PDF/DWG files will be acceptable and you can e-mail the files directly to the Tenant Manager or send via disc with your plan set.  Your tenant improvement drawings must be approved by Landlord prior to commencing work. Please allow 5-10 working days for Landlord review.

Please note that tenant is required to provide Landlord with one set of as-built electronic files (including any plan check corrections or engineered plans) upon completion of the store construction.

PROPERTY ADDRESS

The address for Jersey Shore Premium Outlets is as follows:

Jersey Shore Premium Outlets

Suite #, Tenant Name

One Premium Outlets Blvd.

Tinton Falls, NJ 07753

Please use your individual suite number for deliveries!

DO NOT have deliveries of store supplies or your tenant improvement construction materials made prior to your taking possession of your suite.  A representative of your company must be onsite to receive any deliveries for your store.  The Landlord cannot accept any deliveries for your store.  No provision has been made for on-site storage until your suite is ready for turnover.

KNOX BOXES

Local jurisdiction requires keys to every suite be placed in knox boxes.  Please make certain you have an extra key(s) made to meet this requirement. NO waivers allowed!

ENERGY CALCULATIONS

For energy calculations, use ComCheck-EZ.  A copy of the program may be found at: http://www.energycodes.gov/comcheck/.  All four sections should be completed and submitted with plans.  In some cases, if you are not revising any component of lighting or mechanical system, this requirement may be waived at discretion of local jurisdiction.  However, you must provide a letter or proof concerning existing energy compliance.

Burglar Alarms / Perimeter Intrusion Security Devices

All such devices must be approved by the Landlord prior to installation, including application of "riot glass" or any type of film to doors and/or windows.   No exterior alarms, strobe lights, or other enunciator devices may be mounted on storefronts.  Due to potential interference with the Center's fire alarm system, "Smoke Cloak", or similar systems that generate smoke, are prohibited.  Application of any decals to storefronts referencing Security protection must be done in compliance with Landlord's Storefront Criteria. All alarms REQUIRE a separate permit from the Building department.

##### Tenant Improvement Construction Information

CONTRACTORS

All tenant Mechanical, Electrical, and Plumbing subcontractors performing work within your store must be licensed in the State of New Jersey.  These subcontractors must be licensed prior to selection! Please verify all the rules and codes with the City prior to bidding.

Contractors must provide Landlord with an original signed copy of the Construction Rules prior to turnover of a Tenant’s space.  The tenant contractor obtaining the tenant improvement permit is the contractor responsible for submitting all required information and certificates of insurance to the Landlord.  No contractor can start any work without having full approval of the Landlord, which includes satisfying all the insurance requirements.

Due to the structural engineering design of the roof system, Tenants and/or their contractors cannot attach to or construct anything on the bottom of the roof trusses unless approved by Landlord.  If a structural engineer is needed to determine any structural calculations with Tenant drawings, Tenant is responsible for these services and costs.

Tenant Ceilings:  All ceiling mounted fixtures, lighting, track, signs, etc. must be self-supporting, and may NOT be toggled to or supported in anyway by the ceiling system.

If a barricade is required, it must conform to the Premium Outlet Barricade Specification.  See Barricade Specification sheet on the next page.

TENANT CEILINGS

All ceiling mounted fixtures, lighting, track, signs, etc. must be self-supporting, and may NOT be toggled to or supported in anyway by the ceiling system.  All gypsum board ceilings must have access panels, in particular at signage junction boxes.   Ceilings are not to be covered until required sprinkler and above ceiling inspections are completed to the satisfaction of local jurisdiction.

STRUCTURE

For items affecting structure (i.e. roof top units), Tenants are to submit preliminary design drawings ONLY and should not commence work on drawings until the design is approved by Landlord.

Due to the structural engineering design of the roof system, Tenants and/or their contractors cannot attach to or construct anything on the bottom of the roof trusses unless approved by Landlord.  If a structural engineer is needed to determine any structural calculations with Tenant drawings, Tenant is responsible for these services and costs.

CUTTING, WELDING AND GRINDING ACTIVITIES

Welding and cutting is not permitted near large quantities of exposed, readily ignitable materials, in areas not authorized by Center Management, or on metal partitions, walls or roofs with combustible covering or with combustible construction.

CLEAN-OUTS

Some tenant suites may have furred out columns with access panels to an existing roof drain clean out.   Accesses panels, whether in front or rear of space, are to remain clear of all obstructions.  Floor clean-outs are also to remain clear of all obstructions.

Food Tenant Design Requirement

Below is the minimum design requirements that must be used by ALL Food and Food Court Tenants for all kitchen prep area’s.

This requirement is to prevent any mositure or dampness penetrating the demising wall(s) that can lead to damage to the food space and/or adjoining spaces.

Demising and/or concrete walls:

- Demising walls must be moisture resistant gypsum board w/ Sporgard™ (National Gypsum) on metal studs. Other wall options acceptable by landlord would be Hardibacker prior to installing wall finishes or Ultracode drywall, by USG.

All concrete walls, rear or demising, must be furred out with the above specs, no exceptions.

- Install water proof membrane a minimum of 24” above floor.

- FRP applied to all walls to a minimum height or 48” above wall base tile, and caulked with a silicone sealant.

- Metal or PVC corner guard must be applied to all corners and caulked with a silicone sealant.

Flooring area:

- Floor tile and flooring base installed must be sealed. This application should be re-applied semi-annually.

- Floor drains must be installed in any food preparation area that require cleaning methods of hosing or washing walls. It is the tenant responsibility to make certain that all flooring is sloped for proper drainage to the floor drain(s).

Tile/Grout:  Must have Durock and /or equal applied to studs.

## Food Court Exhibit Requirements

Please see (7) images below:

Required Rooftop Grease Guards

Option 1

Grease Guard® Rooftop Defense System® / Rooftop Containment Services

The Grease Guard® Rooftop Defense System® is the industry leading solution in rooftop grease containment. For every situation and configuration Grease Guard has a solution to accommodate your operation while saving continually saving you money throughout the life of the product. Rooftop Solutions is the proud Official Service Provider of the Grease Guard® Rooftop Defense System® See below at the Grease Guard services Rooftop Solutions has to offer:

Grease Guard® Full Service Program – Grease Guard® maintenance is a required and vital part to Grease Guard® ownership. This service will ensure the Grease Guard® continues to perform at maximum capacity for the life of the product. Our professional Service Technicians will visit your location on a set frequency to ensure all parts of the system meet our strict grease absorption quality standards, and best of all, all of our technicians are employees of Rooftop Solutions. We do not utilize any sub contractors to perform any of our work. In this way we can ensure the work will be completed according to your scope of work with our 20+ years of experience, nationwide!

Your Grease Guard® Full Service Program can include:

- Grease Guard® deficiency and missing parts full system check with management reporting and replacement if applicable.

- Replacement and or rotation of all saturated media with new material to increase system efficiency and lower cost.

- Our Rooftop Grease Free Promise ensures that if we configured, installed, and maintain the Grease Guard® we will handle the grease issues in and around the unit(s) and/or do what it takes to ensure you are protected.

Required Rooftop Grease Guards

Option 2

THE ORIGINAL
GREASE GUTTER

The Grease Gutter system is designed for use in low to moderate grease discharge applications. The Grease Gutter’s one piece absorbent pad holds and contains grease while letting water pass freely out of the system.

The original Grease Gutter system has many advantages over other roof top grease containment products. Our original system is only four inches wide and uses a single filter pad. Engineered for tight installation situations where clearances may be an issue. Constructed of the most durable V-O polymers, it is able to withstand harsh weather conditions. For years of flawless roof protection where four sided protection is needed in lower volume discharge fans – such as rotisserie, steam, and other low grease volume fans.

## Barricade Specifications

1” x 4” Molding along	Exterior, Finished T III Board, 4” on center

top, bottom & corners	    Painted White by Tenant/GC

4’ x 2’

Tenant Brand/Logo

Opening Soon

or Open Date

(Panel provided and installed by Tenant)

4’ x 2’

Tenant Brand/Logo

Opening Soon

or Open Date

(Panel provided and installed by Tenant)

4’ x 2’

Tenant Brand/Logo

Opening Soon

or Open Date

(Panel provided and installed by Tenant)

8’

3’

Existing Grade Level Surface

Barricades must be erected if there is any construction that goes beyond or on the front wall of the tenant space.  These barricades must be painted with 3 coats of white paint and included graphics. Barricade graphics must be approved by Landlord prior to installation. Tenant contractor must maintain a safe environment for customers and employees during construction period.  All work areas must be inaccessible or blocked off from customer/employee flow.

Barricade Construction Notes:

- No openings are permitted.

- All supporting must be concealed behind the barricade

- Placement & design must be approved in writing by LL PRIOR to installation.

- Signage:  2mm black PVC, 2’x4’ with white optima bold lettering.

* Food Court Barricades MUST go to top of ceiling to prevent dust in food court area.

##### Tenant Improvement Construction Information

SLAB WORK

All work must be coordinated with and approved by the Operations Director.  All slab saw cutting or penetrations require that replacement slab be installed with doweling and reinforced concrete. See detail below.

Tenant and Tenant flooring contractors are responsible for the determination of compatibility of flooring products and/or adhesive with Landlord's concrete slab. Landlord does not accept responsibility and will not be liable for water vapor emissions through the slab that exceed flooring manufacturer's recommendations or are due to the effects of saw cutting.  The Tenant/Tenant’s general contractor is responsible to ensure that there are no underground utilities/services BEFORE cutting any concrete, anywhere on the property.  The Tenant will be liable for all repairs and/or lost business due to a utility or service interruption as a result of cutting the slab.

HVAC

All HVAC units are electric and gas.

All Tenants must provide regular maintenance of their HVAC system.  Each Tenant is to provide a copy of their maintenance contract to the General Manager within one (1) month of their turnover date.

Relocation of thermostat controls shall be at the Tenant’s expense and any repairs or failed installations resulting from incomplete or inadequate relocation shall be the Tenant’s responsibility.

Protection for the HVAC unit(s) (construction filter) must be in place prior to the start of Tenant’s construction.  The HVAC unit must also be cleaned when tenant construction is complete.  This is the responsibility of the Tenant, NOT the Landlord.  If painting ceiling, sawcutting or heavy sanding, HVAC unit must be off – not running.

##### Tenant Improvement Construction Information

ROOF

Please refer to the contractors/subcontractors page. Any additional roof items, such as satellite dishes or grease interceptors, may have additional roof requirements.  Contact Center Management for requirements on additional roof items.

SPRINKLERS

NFPA 13 current edition codes will be followed – with FM standards

All tenants are required to submit plans to the required sprinkler contractor.  Tenants must submit in AutoCAD format reflected ceiling plan, fixture plan, and any specific requirements for banners, soffits, and special material. If possible, submit AutoCAD drawings saved to 2000 W/X-refs bound of the RCP and Mechanical plan.

This Contractor must receive a Letter of intent or Purchase order in order to proceed with filing for required permits.

In addition, Tenant is responsible for submitting your sprinkler drawings to Global Risk Consultants, a requirement by our insurance carrier.  This will also protect the integrity of the sprinkler system over time.  The review fee will be billed to the Tenant from Premium Outlets.  If there are any recommendations by GRC, the tenant must comply.  Tenant must adhere to this requirement in order to open.

You must ensure that you send your sprinkler plans to GRC to review.  The detailed specifications are below:

You must send:  	4 copies of sprinkler shop drawings

4 copies of hydraulic calcs

1 copy of catalog cut sheets for materials being used (sprinklers, fittings, pipe, valves etc.)

Occupancy details - needed to ensure adequate protection: the occupancy details should include, but not be limited too, stored materials, storage height, storage arrangement (shelves, racks, mobile storage units), processes present, etc.

Send plans to:	 Peter Rullo, Global Risk Consultants

100 Walnut Avenue 5th Floor

Clark, NJ  07066

(732)827-4454

FIRE ALARM

All tenants are required to submit plans to the required Alarm contractor.

- Tenants must submit in AutoCAD format reflected ceiling plan, fixture plan, and any specific requirements for banners, soffits, and special material.

This Contractor must receive a Letter of intent or Purchase order in order to proceed with filing for required permits.

##### Tenant Improvement Construction Information

All drawings MUST include Hazard Classification, ceiling plan, dimensions and storage/furniture layout, including the heights.  You MUST submit your plans on AutoCAD (version 14 or higher) to the attention of the above contractor.

VERY IMPORTANT SUBMITTAL OF PERMITS FOR ALARM/SRINKLER

Both the required Sprinkler and Alarm Company, will send you a purchase order or contract to review and sign.  After you sign the agreement, they will proceed to layout and re-design the changes as required by Fire Department.   They cannot submit and obtain the permits necessary to perform the work.  New Jersey codes are different than most of the areas we have built in.   The drawings will be sent back to your architect, who then will need to approve and file the appropriate permit applications etc…  Review time 30 – 45 days.  There is no expediting in this borough.  You must send plans immediately to both these companies!

A space will not be turned over to the contractor and/or tenant without a signed executed lease.

TENANT’S MUSIC SYSTEM

Music or other speakers cannot be installed on any demising wall.  Tenant must ensure that music volume is maintained at a level which cannot be heard or the vibrations from which cannot be felt outside the Demised Premises.  If such a level is not maintained, it will be the Tenant’s responsibility and expense to install soundproofing to achieve the sound level as determined by Landlord.  If Tenant fails to meet Landlord requirements, Landlord has the right to require Tenant to cease playing music.

PERMIT TIME

The permit process takes at least 4 to 6 weeks depending on completeness of your architect’s information.  Many plans will not get a permit on the first review.  Re-submittals can take up to another week or two.  Be prepared and get your plans in EARLY! When several tenant improvement plans come in for review at the same time, the review process may take longer.

All plans MUST have Landlord approval prior to submitting to zoning and or building department.

Food tenant should allow Health review prior to submitting to Zoning, Zoning needs to know that the Health department has approved them.

- A Zoning permit must be applied for from the Borough of Tinton falls 10-20 days for review. You must submit a site plan with suite location, and floor plan. This can be done simultaneously with your submission to the building department permit applications.

- Building Department requires two full sets of tenant improvement plans (including fire sprinkler & fire alarm plans by the tenant’s architect plans must be submitted through the tenant’s architect with a letter stating that the system meets the intent of his (architect’s) design for that space, signed and seal by licensed architect.

##### Tenant Improvement Construction Information

NJAC 5:23-2.15(e)1.xi(1) states, “All documents prepared by people other than the design professional shall be reviewed by the design professional and submitted with a letter indicating that they have been reviewed and found to be in conformance with the regulations for the design of the building.”

Two examples of this code requirement are:

1.      A New Jersey State licensed architect chooses to use pre-engineered lumber (normally certified by a licensed engineer), the architect must supply a letter, including his seal, attesting to the lumber’s appropriate use in the design.  Please keep in mind, the architect is not sealing “over” the engineer’s seal; he is simply stating he has reviewed the material and that it “works” in the design.

2.      A licensed electrician proposes to install wiring through a fire-rated assembly in a new structure.  The design professional must review this proposal to make sure the penetration does not jeopardize the rating of the wall.  If the proposed installation is acceptable, the design professional must submit a signed and sealed letter stating that the electrical plans meet the intent of his design.  (A fire-alarm system is a good example; this situation can also be applied to the proposed installation of piping by a master plumber.)

- Fire Alarm and fire sprinkler drawings will still need to be submitted to the required landlord contractor for appropriate permits.

- Electrical and Plumbing applications must be signed and seal by a New Jersey State licensed contractor. All fees must be paid at the time permit pick up.

- The following applications are located in this handbook, with the required general information already completed.

All of the applications MUST be submitted correctly to in insure a quick review time.

- Zoning permit

- Construction Permit Application-U.C.C F100-1

- Certification in Lieu of Oath

- Building Sub Code Application U.C.C. F110

- Electrical Sub Code Application U.C.C F120 (These must be signed and sealed by a NJ licensed electrical contractor).

- Plumbing Sub Code Application U.C.C F130 (These must be signed and sealed by a NJ licensed Plumbing contractor).

- Fire Sub Code Application U.C.C. F140

##### Tenant Improvement Construction Information

Signage

Signage will require a sign zoning permit application, and Construction Permit Application-U.C.C F100. You must make separate application.  Tenant sign submittals should be made after Landlord approval of sign has been secured.  Give yourself sufficient time for this process.  Include two copies with the permit application.  It is not over the counter.  Permit fee must be paid at the time of submittal.

All sign contractors must be licensed by the State of New Jersey.

##### Tenant Improvement Construction Information

Food Tenants

All plans need to be approved by landlord prior to submitting for Zoning & Building permits. Please remember that the health department must have already approved your plans before submitting for zoning and building permit.

# HEALTH DEPARTMENT

Food Tenants information and Health Department permit applications, licenses, and Monmouth County:

# Please refer to the Monmouth County Regional Health Commissions

# Phone: 732-493-3520

Fax:	  732-793-9521

Dominick Astino

1540 West Park Avenue

Ocean Twp, NJ 07712

Monmouth County website http://www.mcrhc.org  for application fees and all forms.

##### Tenant Improvement Construction Information

Subchapter 9. Review of Plans

N.J.A.C. 8:24-9.1 (2007)

i8:24-9.1 Plan submission and approval

- A permit applicant or operator shall submit to the health authority properly prepared plans and specifications for review and approval before:

  - The construction of a retail food establishment;

  - The conversation of an existing structure for use as a retail food establishment; or

  - The remodeling of a retail food establishment or a change of type of retail food establishment or food operation if the health authority determines that plans and specifications are necessary to ensure compliance with these rules.

- The plans and specifications for a retail food establishment shall include, as required by the health authority based on the type of operation, type of food preparation, and foods prepared, the following information to demonstrate conformance with rule provisions:

  - The intended menu;

  - The anticipated volume of food to be stored, prepared, and sold or served;

  - The proposed layout, mechanical schematics, construction materials, and finish schedules;

  - The proposed equipment types, manufacturers, model numbers, locations, dimensions, performance capacities, and installation specifications;

Food tenants

Subchapter 9. Review of Plans (con’t)

  - Proposed program of training for the persons in charge and food employees pertaining to protecting public health and safety and integrity of food; and

  - Other information that may be required by the health authority for the proper review of the proposed construction, conversation or modification, and procedures for operating a retail food establishment.

- The health authority shall review these plans and respond accordingly within 30 days of the date of submission.  No retail food establishment shall be constructed, renovated, or converted except in accordance with plans and specifications previously submitted to and approved by the appropriate health and construction authorities.

- Prior to engaging in an activity that requires a HACCP plan, an operator shall submit to the health authority for approval a properly prepared HACCP plan as specified under (e) below and the relevant provision chapter if:

  - Approval for specialized processing is required as specified under N.J.A.C. 8:24-3.5 (h); or

  - The health authority determines that approval for specialized processing is required based on the plans submitted under (b) above, an inspectional finding, or request for specialized processing as specified under N.J.A.C. 8:24-3.5 (h) and (i).

- For a retail food establishment that is required under (d) above to have HACCP plan, the plan and specifications shall indicate:

  - A categorization of the types of potentially hazardous foods that are specified in the menu such as soups and sauces, salads, and bulk, solid foods such as meat roasts, or other foods that are specified by the health authority;

  - A flow diagram by specific food or category type identifying critical control points and providing information on the following:

    - Ingredients, materials, and equipment used in the preparation of that food; and

    - Formulations of recipes that delineate methods and procedural controls measures that address the food safety involved;

  - Food employee and supervisory training plan that addresses the food safety issues concern;

  - A statement of standard operating procedures for the plan under consideration including clearly identifying:

    - Each critical control point;

    - The critical limits for each critical control point;

    - The method and frequency for monitoring and controlling each critical control point by the food employee designated by the person in charge;

    - The method and frequency for the person in charge to routinely verify that the food employee is following standard operating procedures and monitoring critical control points;

    - Action to be taken by the person in charge if the critical limits for each critical control point are not met; and

    - Records to be maintained by the person in charge to demonstrate that the HACCP plan is properly operated and managed; and

  - Additional scientific data or other information, as required by the health authority, supporting the determination that food safety is not compromised by the proposal.

i 8:24-9.2 Pre-operational inspection

Whenever plans and specifications are required by N.J.A.C. 8:24-9.1 to be submitted to the health authority, the health authority shall inspect the retail food establishment prior to the start of operations, to determine compliance with the requirements of this chapter.

##### Tenant Improvement Construction Information

Hot Work – Hot Work Permit Policy:

Purpose:

Fire Safety is maintained through exercising sound loss prevention practices including the proper procedure for Hot Work Operations.

Objective:

To insure that Hot Work Contractors perform their work using safe practices in order to eliminate any potential fire hazard.

Scope/Responsibility/Exceptions:

- This policy affects all Simon Property Group centers where hot work is conducted.

- The General Manager / Area Manager or their appointee is responsible for implementation of this policy.

C.   The Regional Director - Operations is responsible for the interpretation and enforcement of this policy.

D. 	Any requests for an exception to this policy must be submitted, for review to the Sr. Vice President, Operations.

Standards for Hot Work Operations:

Definition of “Hot Work”:

Hot Work is that which involves electric or gas welding, cutting, brazing, riveting, burning or roofing or similar flame or spark-producing operations.

Hot Work Permit:

The Hot Work Permit is a permit that must be obtained by the Hot Work Contractor from the General Manager or Area Manager or their appointee prior to any work being conducted.  The Hot Work Permit must be signed by the General Manager / Area Manager or their appointee indicating their approval.  Copies of the Hot Work Permit are required to be maintained at the center office for a period of one year.  The Contractor is bound by the conditions listed on the Permit.

Fire Safety Inspection:

Before issuance of a hot work permit, the General Manager / Area Manager or their appointee shall inspect the work area to confirm that all required precautions have been taken to prevent fire as noted below.

1.	NO WELDING, CUTTING, BRAZING, RIVETING, BURNING OR SIMILAR FLAME OR SPARK-PRODUCING OPERATIONS SHALL BE DONE IF AUTOMATIC SPRINKLER PROTECTION IS NOT IN SERVICE.  (Any Requests for an exception to this policy must be submitted, in writing, for review to the Sr. Vice President - Operations)

2. 	The Property Manager or his appointee shall verify that the Hot Work Contactor abides by the following as noted in NFPA No. 51B and OSHA 29 CFR 1910.252 latest editions:

Precautions - Within 35 Feet of Work:

- Floors swept clean of combustibles

- Combustible floors wet down, covered with damp sand, metal or other non-combustible shields

- Flammable/combustible liquids removed.

- All wall and floor openings covered

- Flameproof covers suspended beneath work to collect sparks

- Move combustibles at least 35 feet from hot work operations. If combustibles cannot be moved, they must be protected by metal guards of by flameproofed curtains or covers rather than ordinary tarpaulins.

Work On Walls Or Ceilings:

- Construction noncombustible and without combustible covering

- Combustibles moved away from opposite/reverse side of wall

Work on Enclosed Equipment (Includes Confined Spaces)

(Tanks, boilers, containers, ducts, dust collectors, etc.):

- Equipment cleaned of all combustibles

- Containers purged of flammable vapors

Fire Watch:

- Trained in use of equipment and in sounding alarm

- To be provided during and at least 30 minutes after welding operation ceases

- Provide watch on floors above/below vertical openings

- Equipped with appropriate type and size fire extinguisher as noted in NFPA 10 latest edition and small hose connected to nearby water supply

Welding may produce fumes or gases hazardous to health.  Hot Work Contractor shall provide adequate ventilation as noted in ANSI Z49.1-1967, Safety in Welding and Cutting, published by the American Welding Society.

Hot Work Contractor shall provide only employees trained in proper use of the equipment involved including safe work practices and use of all appropriately required personal protective equipment.

Hot Work Contractor shall be responsible for the proper transportation and storage of all tanks and equipment used in their welding/cutting operation.

FINAL CHECK-UP:

Work area and all adjacent areas to which sparks and heat might have spread (including floors above and below and on opposite sides of walls) shall be inspected at least 30 minutes after the work was completed and to ensure they are fire-safe.

Storefront Security Systems

Written Criteria:

Storefront Design Control Zone

The Tenant Storefront Design Control Zone is the area of the store extending from the storefront lease line into the store a minimum of five feet (5’-0”) across the entire width of the store. Since the appearance of this zone is critical to the overall store appearance, design solutions, and materials are expected to be of the highest quality. The design zone will be closely reviewed by Landlord for design and use.

Security systems shall be fully concealed.  Gate style or stanchion security systems are not permitted if visible from the mall.  Security cameras, vision panels, or “bubbles” shall not be exposed to public view in the Design Control Zone.

Purpose of Criteria:

The Landlord’s Storefront and Design Control Zone criteria (first 5’ into the store) requires tenants to design their stores to a high level of quality and finish so that the visual and aesthetic impact on the customer enhances the shopping experience and differentiates the image of Simon as being the best place to shop.

While we recognize that store security is important, we feel that free-standing pedestal (or stanchion) systems produce a negative connotation, are confrontational, are detrimental to impulse sales (by creating a “threshold” affect) and generally detract from the shopping experience.

Accordingly, while we do allow concealed and “discreet” systems (such as Digital Door-Max®), pedestal systems are not allowed.  To quote Sensormatic: “Pedestals can provide visible deterrence while concealed systems offer more discreet protection for upscale retail environments.”

Examples:

Not Acceptable				Acceptable

Storefront Security System

Product Description:

Storefront EAS (Electronic Article Surveillance) security systems and devices come in a variety of types.

Sensormatic is probably most popular and can be found on the below URL (Sensormatic’s “discreet” and “concealed” systems are acceptable: (http://www.sensormatic.com/Products/EAS/DetectionSystems/DetectionSystems_home.aspx)