REV 5/14/21

Birch Run Premium Outlets

TENANT HANDBOOK

TABLE OF CONTENTS

GENERAL PROJECT INFORMATION

- Center Fact Sheet

- Important Telephone Numbers

TENANT IMPROVEMENT INFORMATION

- Tenant Improvement Construction Information

- Food Tenant Design Requirements

- Barricade Specifications

MISCELLANEOUS

#### Utilities

- Sign Repair

- Knox Boxes

To obtain a copy of the Tenant Handbook, Contractor Rules & Regulations, Storefront Criteria & Signage Criteria, please go to www.SIMON.com and follow the steps below:

- Click on the ‘BUSINESSES’ tab along the top right.

- Type the name of your property in the ‘Search by Property Name or Location’ search engine, and select from the drop down menu.

- This link will lead you to the Property Overview page.

- Scroll down, and look for the Tenant Info Package link along the right hand side.  This link contains the Tenant Manual, Sign Criteria & Site Specific Manuals.

Birch Run Premium Outlets

PROJECT FACT SHEET

LANDLORD:				SIMON Premium Outlets

60 Columbia Road

Bldg. B, 3rd Floor

Morristown, NJ 07960

Phone: 	(973) 228-6111

CENTER MANAGEMENT		Birch Run Premium Outlets

OFFICE:                                         12240 South Beyer Road

Birch Run, MI 48415

Phone 	(989) 624-6226

Fax:		(989) 624-6125

Birch Run Premium Outlets

IMPORTANT TELEPHONE NUMBERS

Village of Birch Run 	       (989) 624-5711

12060 Heath Street

Birch Run, MI 48415

Planning & Zoning	       (989) 624-5711

Building Inspections                                                                        	(989) 624-5711

CHAMBER OF COMMERCE                                                                    (989) 624-9193

COUNTY CLERK – Saginaw County                                                        (989) 790-5251

ENVIRONMENTAL HEALTH	  (989) 758-3800

EMERGENCY/SHERIFF/FIRE/AMBULANCE	 911

FEDERAL EXPRESS	(800) 238-5355

FIRE DEPARTMENT (NON-EMERGENCY)	(989) 624-9561

HOSPITAL – St. Mary’s (Saginaw)	(989) 907-8000

POLICE DEPARTMENT (NON-EMERGENCY)	(989) 624-1113

POST OFFICE	  (989) 624-5324

UNITED PARCEL SERVICE	 (800) 742-5877

Birch Run Premium Outlets

Tenant Improvement Construction Information

Please provide Landlord with one (1) full size hard copy set of prints and one (1) electronic file (PDF/DWG) for the plan review/approval process.  Your tenant improvement drawings must be approved by Landlord prior to commencing work.   Please allow 5-10 working days for Landlord review.

Please note that tenant is required to provide Landlord with one (1) set of electronic (PDF/DWG) as-built tenant improvement drawings (including any plan check corrections or engineered plans) upon completion of the store construction.

PROPERTY ADDRESS

The address for Birch Run Premium Outlets is as follows:

Tenant Name/DBA

Birch Run Premium Outlets

Suite # ____

12240 South Beyer Road

Birch Run, MI  48415

Please use your individual suite number for deliveries!  DO NOT have deliveries of store supplies or your tenant improvement construction materials made prior to your store turnover date.  A representative of your company must be onsite to receive any deliveries for your store.  The Landlord cannot accept any deliveries for your store.  No provision has been made for on-site storage until your suite is ready for turnover.

Burglar Alarms / Perimeter Intrusion Security Devices

All such devices must be approved by the Landlord prior to installation, including application of "riot glass" or any type of film to doors and/or windows.   No exterior alarms, strobe lights, or other enunciator devices may be mounted on storefronts.  Due to potential interference with the Center's fire alarm system, "Smoke Cloak", or similar systems that generate smoke, are prohibited.  Application of any decals to storefronts referencing Security protection must be done in compliance with Premium Outlet's Storefront Criteria.

CONTRACTORS

All tenant Mechanical, Electrical, and Plumbing subcontractors performing work within your store must be State Licensed. These subcontractors must be licensed prior to selection!

Contractors must provide Landlord with an original signed copy of the Construction Rules (see following) prior to turnover of a Tenant’s space.  The tenant contractor obtaining the tenant improvement permit is the contractor responsible for submitting all required information and certificates of insurance to the Landlord.  No contractor will be allowed access to start any work without having full approval of the Landlord, which includes satisfying all the insurance requirements

Due to the structural engineering design of the roof system, Tenants and/or their contractors cannot attach to or construct anything on the bottom of the roof trusses unless approved by Landlord.  If a structural engineer is needed to determine any structural calculations with Tenant drawings, Tenant is responsible for these services and costs.

Tenant Ceilings:  All ceiling mounted fixtures, lighting, track, signs, etc. must be self-supporting, and may NOT be toggled to or supported in anyway by the ceiling system.

If a barricade is required it must conform to the Premium Outlets’ Barricade Specification.  See Barricade Specification sheet on the next page.

STRUCTURE CHANGES

Tenants are to submit preliminary design drawings ONLY and should not commence work on drawings until the design is approved by Landlord

CUTTING, WELDING AND GRINDING ACTIVITIES

Welding and cutting is not permitted near large quantities of exposed, readily ignitable materials, in areas not authorized by Center Management, or on metal partitions, walls or roofs with combustible covering or with combustible construction.

CLEAN-OUTS

Some tenant suites have clean outs for floor drains.  These are not to be covered and are to remain clear of all obstructions.

Some tenant suites have furred out columns with access panels to an existing roof drain clean out.   Access panels, whether in front or rear of space, are to remain clear of all obstructions.

FIRE SPRINKLER/FIRE ALARM

All new tenants will be required by the Village of Birch Run to update all sprinkler and fire alarms to current standards.  All alarm plans must be submitted to the Birch Run Fire Department for approval and permits prior to work commencing.

See the required subcontractors for Fire Sprinkler and Alarm in the Site Specific handbook.  There is a $250 fee to shut down the sprinkler system as required to make your modifications.  Twenty Four (24) hours prior to deactivating sprinklers, Center Management must be notified and appropriate fee paid.  Make check out to:  Birch Run Premium Outlets.

PERMITS

Please confirm with the Village of Birch Run regarding your permit.  You will be required to pull a building permit even if no construction work will be performed as it’s the only vehicle for obtaining a Certificate of Occupancy.

STOREFRONT DESIGN CRITERIA / GUIDELINES

Tenants will be required to upgrade the storefronts including window and door areas in older sections of the center that have the knee walls and wood entry doors. Entry doors are to be bronze or aluminum finish per Storefront Design Guidelines, either single or double door depending on the size of the entryway, with full glass including sidelight panels. All glazing shall be full size panels with insulated glass storefront frame system.    Please refer to Storefront Design Guidelines which can be found on SIMON.com

KNOX BOXES

Knox Boxes will be required for ALL permanent tenants and any other tenant occupying a space for 30 days or more. See rear of this handbook for more information.

EQUIPMENT

Landlord strongly prefers the use of ENERGY STAR products and/or equipment whenever possible during Tenant design & build out, which can reduce energy consumption.  For additional information, please visit:  www.energystar.gov/products

Birch Run Premium Outlets

Food Tenant Design Requirements

Below are the minumum design requirements that must be used by ALL Food and Food Court Tenants for all kitchen prep areas.

This requirement is to prevent any mositure or dampness penetrating the demising wall(s) that can lead to damage to the food space and/or adjoining spaces.

Demising and/or concrete walls:

- Demising walls must be moisture resistant gypsum board w/ Sporgard™ (National Gypsum) on metal studs. Other wall options acceptable by landlord would be Hardibacker prior to installing wall finishes or Ultracode drywall, by USG.

All concrete walls, rear or demising, must be furred out with the above specs, no exceptions.

- Install water proof membrane a minumum of 24” above floor.

- FRP applied to all walls to a minumum height or 48” above wall base tile, and caulked with a silicone sealant.

- Metal or PVC corner guard must be applied to all corners and caulked with a silicone sealant.

Flooring area:

- Floor tile and flooring base installed must be sealed. This application should be re-applied semi-annually.

- Floor drains must be installed in any food preparation area that require cleaning methods of hosing or washing walls. It is the tenant responsibility to make certain that all flooring is sloped for proper drainage to the floor drain(s).

- Tile/Grout:  Must have Durock and /or equal applied to studs.

Birch Run Premium Outlets

barricade specifications

Barricades must be erected if there is any construction that goes beyond or on the front wall of the tenant space.  These barricades must be painted with 3 coats of white paint and included graphics. Barricade graphics must be approved by Landlord prior to installation. Tenant contractor must maintain a safe environment for customers and employees during construction period.  All work areas must be inaccessible or blocked off from customer/employee flow.

Barricade Construction Notes:

- No openings are permitted.

- All supporting must be concealed behind the barricade

- Placement & design must be approved in writing by LL PRIOR to installation.

- Signage:  2mm black PVC, 2’x4’ with white optima bold lettering.

* Food Court Barricades MUST go to top of ceiling to prevent dust in food court area.

Birch Run Premium Outlets

MISCELLANEOUS

UTILITIES

Electricity, Gas and Water are individually metered.

HVAC units are package units and use gas.

*Verify that your suite has a water meter.  If not, the Village of Birch Run will require the purchase and installation of same during construction.

SIGN BAND/FASCIA REPAIR

When Tenant vacates or installs permanent sign, Tenant is responsible for restoring the fascia of the building back to its previous condition, i.e.:  removal of any silicone residue, patching holes, stucco repair, re-painting etc.   Final approval and acceptance of any such repairs shall be solely at the discretion of a representative of Landlord.  Inspection of completed repair must be performed by Tenant and inspected and accepted by a representative of the Premium Outlet Center.

Additional Center Visibility

Any additional visibility of a sale including flyers, etc. must be coordinated with the on-site Center Management and approved by the Premium Outlet’s Marketing Department.