## MSR4b - Mechanical Checklist
Mechanical Checklist for Minimum Submittal Requirements
Project: |  |  |  |  | Submittal / Date
Tenant: |  |  |  |  | 1
Space No.: |  |  |  |  | 2
Completed by: |  |  |  |  | 3
Data | Not |  |  | Data |  | Clarify or
Supplied | Applicable |  |  | Not Found |  | Amend
|  | 1. | Professional Engineer's seal and signature on all documents.
|  | 2. | Documents include tenant name and correctly identify space
and location.
|  | 3. | Systems depicted are compatible with existing conditions, systems
(i.e., chilled or tower water, vav, unitary) and general scope of work
required by the Criteria.
|  | 4. | Calculations to support equipment sizing including:
a. Mechanical System Summary
b. Load Calculation Summary - Heat gain/heat loss
c. Design Air Balance Summary - Design air balance
d. Static Pressure Drop Calculations - Static pressure loss for
Tenant components
e. Water Pressure Drop Calculations - Water pressure drop for
Tenant components
f. Plumbing Calculations - Plumbing fixture unit calculations
(domestic water and waste)
g. Gas Load Summary - Gas load summary providing tabulation
of equipment
h. Gas Load Summary - Pipe sizing calculations
i. Grease interceptor sizing calculations
|  | 5. | Demolition plan and notes indicating removal of all systems and
components that are not reused. (No equipment or components
may be abandoned without written permission of the Landlord.)
|  | 6. | Note requiring field verification of existing conditions and
establishing a discrepancy resolution procedure.
|  | 7. | To scale hvac floor plan including:
a. Ductwork with dimensions (supply, return, exhaust, outside
air, relief, transfer)
b. Supply diffusers or registers with cfm and elevation above
finished floor (if not installed in a ceiling)
c. Return registers with cfm and ductwork (if ducted returns
are required)
d. Hvac device(s) (air handler, heat pump, rooftop unit, vav
box, unit or cab. htr.)
e. Outside air intake and relief if other than a vav system
f. Toilet exhaust system indicating cfm, termination point
and control source (150 cfm max. with light switch control
if connected to Landlord system)
g. Thermostat or sensor in sales area (main public occupancy)
h. Odor control or process exhaust system
i. Installation and mounting details, elevations, diagrams
j. Piping plans with sizes, routing and termination details
k. Coil or unit piping details for hydronic systems delineating
all trim (control, balancing and shutoff valves, strainer,
pressure and temperature ports, etc.) required by the criteria
l. Existing Landlord equipment and obstructions that impact design
m. Delineation of service and access requirements
n. Connection to existing utilities
n. Note limiting flexible duct to 5'-0" length per runout
o. Smoke or thermal detectors per code if other than a vav system
p. Components for interlock with Landlord's energy management
system
|  | 8. | Hvac schedules & specifications including:
a. Hvac device(s) (new or existing to be reused) including the
following minimums:
1. Supply cfm
2. Static pressure (external and total)
3. Total & sensible cooling capacity
4. Heating capacity (if required)
5. Entering & leaving temperatures (air and water as applicable)
6. GPM and water pressure drop
7. Electrical characteristics
8. Weight
b. Minimum refurbishing and testing specifications requiring
inspection, repair, test and replacement report
c. Ductwork
d. Fire and/or smoke dampers
e. Diffusers, louvers, registers and grilles
f. Exhaust fans, intakes, relief vents
g. Curbs & equipment supports
h. Insulation
i. Sleeves and Firestopping
j. Piping & fittings
k. Vibration isolation
l. Temperature controls with sequence of operation
m. Testing and balancing
|  | 9. | To scale plumbing floor plan including:
a. Pipe routing for grease and sanitary waste, water and
vent systems
b. Fixtures
c. Waterproofing details
d. Connection to existing utilities
e. Existing Landlord equipment and obstructions that
impact design
f. Delineation of access requirements
|  | 10. | Plumbing schedules & specifications
a. Fixtures
b. Piping & fittings
c. Insulation
d. Sleeves and Firestopping
e. Grease interceptor
f. Minimum refurbishing and testing specifications requiring
inspection, repair and replacement report
|  | 11. | Life safety/sprinkler system notes indicating:
a. Landlord approved contractor shall be employed by the
tenant to modify, install system and prepare contract
documents for code and Landlord's insurer approvals.
b. All work shall be scheduled with Landlord's Field
Representative.
c. All systems shall be charged and operational when the
Contractor is not on the premises.
|  | 12. | To scale plan, sections and details indicating route and construction
for all system components beyond the confines of the demised space.
|  | 13. | To scale partial roof plan (if roof mounted equipment is required
beyond plumbing vents and toilet exhaust termination) including:
a. New equipment (exhaust fans, ductwork, condensing, makeup
air and rooftop units, refrigeration racks, refrigeration piping,
gas piping, support curbs)
b. Installation and mounting details, elevations, diagrams
c. Termination height of all exhausts and flues
d. Odor or kitchen exhaust fans must utilize an upblast discharge
e. Existing equipment and obstructions that impact design
within a 20 foot radius
f. Roof slope
g. Note requiring all roof work to be performed by Landlord
designated roofer
h. Kitchen exhaust installations shall include a Grease Guard
grease containment system
|  | 14. | Structural reinforcing details for equipment suspension, service
platforms, or deck penetrations.
|  | 15. | Written request for upgrade or deviation from capacities available;
systems required by the lease documents or from minimum
requirements of the criteria:
a. Rationale for deviation or upgrade
b. Description of deviation or upgrade
Additional Comments

## TSF1a - Load Calclt'n Summary
Load Calculation Summary
Project: | [10 empty] | Date: |  | Revision:
Tenant Name: | [10 empty] | Space: |  | Calculation: | Cooling
Zone Name: | [10 empty] | Sq. Ft.: |  |  | Heat Occ.
Unit Designation: | [10 empty] | Level: |  |  | Heat Un.
(Complete separate form for each zone or terminal device)
Design Conditions | [5 empty] | Outside: |  |  |  | Inside: |  | Supply Air Temp: |  | Time:
[8 empty] | DB |  |  | DB |  | DB
[8 empty] | WB |  |  | WB |  | WB
Internal | [10 empty] | Sensible | Total | Latent | Total
| Occupant |  |  | Density: |  |  |  | Sq. Ft./Person |  |  | Space | Sensible
No. of Occupants:
|  |  |  | Factor: |  |  | S |  | L
| Lighting |  |  | Lamp |  | Special |  | No. |  | Total
| Type: |  |  | Watts: |  | Allowance |  | of |  | Watts:
[6 empty] | Factor: |  | Fixtures
| Neon Lin. Ft.: |  |  |  |  | BTUH / Ft.:
Subtotal Lighting
Miscellaneous & Process
| Item: |  |  |  |  | Connected |  | Diversity |  | Hooded
[6 empty] | Load |  | Factor: |  | (Y or N):
Subtotal Misc. Loads
Thermal Exhaust Credit (Food Court Only)
CFM x 1.085 x Acceptable Temperature Rise
External
|  |  | Exp. | U or R | / | S.C. |  | Factor |  | Area
| Glass |  |  |  | /
/
/
/
|  |  | Horiz. |  | /
Wall
Floor
Partition
Roof
Subtotal Skin Loads
| Outside Air |  |  | No. of Occupants:
CFM per Occupant:
Total CFM:
Subtotal External Loads |  |  |  |  | (Skin, Outside Air)
Subtotal Internal Loads |  |  |  |  | (Occupant, Lights, Misc., Ex. Credit)
TOTAL

## TSF2U - Mech System Summary
Mechanical System Summary (Rooftop or Split System)
Project: |  |  |  | Date: |  |  | Revision:
Tenant Name: |  |  |  | Space: |  |  | Rev. Date:
Level: |  |  |  | Sq. Ft.
HVAC | Total Load: |  | Space Sensible
| Sq. Ft. Per Ton: |  | Load:
| Btuh Per Sq. Ft. |  | Sensible Load:
Latent Load:
| Total Supply CFM: |  | Supply Air Temp:
CFM Per Sq. Ft.
| Glass | Sensible |  | Latent |  | Total
Cooling Load | Glass (Hor.)
Component Totals | Wall
(All Zones) | Floor
Partition
Roof
Occupant
Lighting
Misc.
Process Equipment
Outside Air
Heat Loss | Occupied |  |  | Unoccupied
Air Balance | Process Exhaust Cfm |  |  | Min. Outside Air Cfm
| Kitchen Exhaust Cfm |  |  | Economizer Cfm
| Toilet Exhaust Cfm |  |  | Replacement Air Cfm
| Thermal Exhaust Cfm |  |  | (Transfer from
| Total Exhaust Cfm |  |  | Common Area)
Makeup Air Unit CFM
| Relief @ min. O.A. |  |  | Pressure min. O.A.
| Relief @ Economizer |  |  | Pressure Economizer
Plumbing | Domestic Water Fixture Units
| Demand |  |  | Min. Size Req.
| Domestic Water Heater Size |  |  | Input Rating
Meter
| Sanitary Fixture Unit |  |  | Min. Size Req.
| Vent |  |  | Min. Size Req.
Grease Waste | Interceptor Size |  | Gal. |  | Lbs.
Location
| Waste Fixture Units |  |  | Min. Size Req.
| Vent Fixture Units |  |  | Min. Size Req.
Natural Gas | HVAC CFH |  | Length of Run
| Makeup Air CFH |  | from Meter
| Equipment CFH |  | Pressure
| Dom. Water CFH |  | Min. Line Size
| Total CFH |  | Regulator
Length of Run
Appliance Pressure
Min. Line Size
| Meter Location |  | Service Type |  | Direct Utility Billed
Landlord Redistribution

## TSF2H - Mech System Summary
Mechanical System Summary (Hydronic Loop)
Project: |  |  | Date: |  |  |  |  | Revision:
Tenant Name: |  |  | Space: |  |  |  |  | Rev. Date:
Level: |  |  | Sq. Ft.
HVAC | Total Load |  |  |  | Space Sensible
| Sq. Ft. Per Ton |  |  |  | Load:
| Btuh Per Sq. Ft. |  |  |  | Sensible Load
Latent Load
| Total Supply CFM |  |  |  | Supply Air Temp
CFM Per Sq. Ft.
| Landlord GPM |  |  |  | Available Water
| Allocation |  |  |  | Pressure
| Total GPM Req. |  |  |  | Calculated Water
| GPM per 1,000 sq. ft. |  |  |  | Pressure Loss
Entering Water Temp.
Leaving Water Temp.
Supplemental Unit
| Glass | Sensible |  | Latent |  | Total
Cooling Load | Glass (Hor.)
Component Totals | Wall
(All Zones) | Floor
Partition
Roof
Occupant
Lighting
Misc.
Process Equipment
Outside Air
Heat Loss | Occupied |  |  | Unoccupied
Air Balance | Process Exhaust Cfm |  |  | Min. Outside Air Cfm
| Kitchen Exhaust Cfm |  |  | Economizer Cfm
| Toilet Exhaust Cfm |  |  | Replacement Air Cfm
| Thermal Exhaust Cfm |  |  | (Transfer from
| Total Exhaust Cfm |  |  | Common Area)
Makeup Air Unit Cfm
| Relief @ min. O.A. |  |  | Pressure min. O.A.
| Relief @ Economizer |  |  | Pressure Economizer
Plumbing | Domestic Water Fixture Units
| Demand |  |  | Min. Size Req.
| Domestic Water Heater Size |  |  | Input Rating
Meter
| Sanitary Fixture Unit |  |  | Min. Size Req.
| Vent |  |  | Min. Size Req.
Grease Waste | Interceptor Size |  | Gal. |  | Lbs.
Location
| Waste Fixture Units |  |  | Min. Size Req.
| Vent Fixture Units |  |  | Min. Size Req.
Natural Gas | HVAC CFH |  |  |  | Length of Run
| Makeup Air CFH |  |  |  | from Meter
| Equipment CFH |  |  |  | Pressure
| Dom. Water CFH |  |  |  | Min. Line Size
| Total CFH |  |  |  | Regulator
Length of Run
Appliance Pressure
Min. Line Size
| Meter Location |  |  |  | Service Type |  | Direct Utility Billed
Landlord Redistribution

## TSF2V - Mech System Summary
Mechanical System Summary (Variable Air Volume)
Project: |  |  | Date: |  |  |  | Revision:
Tenant Name: |  |  | Space: |  |  |  | Rev. Date:
Level: |  |  | Sq. Ft.
HVAC | Total Load: |  | Space Sensible
| Sq. Ft. Per Ton: |  | Load:
| Btuh Per Sq. Ft. |  | Sensible Load:
Latent Load:
| Landlord Primary |  | Available Static
| Air Allocation: |  | Pressure:
Calculated Static
Pressure Loss:
| Total Primary |  | Primary Supply
| Supply CFM: |  | Air Temperature:
CFM Per Sq. Ft.
| Total Secondary |  | Secondary Supply
| Supply CFM: |  | Air Temperature:
CFM Per Sq. Ft.
|  | Sensible |  | Latent |  | Total
Glass
Cooling Load | Glass (Hor.)
Component Totals | Wall
(All Zones) | Floor
Partition
Roof
Occupant
Lighting
Misc.
Process Equipment
Outside Air
Heat Loss | Occupied |  |  | Unoccupied
Air Balance | Process Exhaust Cfm |  |  | Makeup Air Unit CFM
| Kitchen Exhaust Cfm |  |  | Replacement Air Cfm
| Toilet Exhaust Cfm |  |  | (Transfer from
| Thermal Exhaust Cfm |  |  | Common Area)
| Total Exhaust Cfm |  |  | Min. Vav Box Setpoint
Max. Vav Box Setpoint
Return Air Cfm
Min. Vav Box Setpoint
Max. Vav Box Setpoint
Plumbing | Domestic Water Fixture Units
| Demand |  |  | Min. Size Req.
| Domestic Water Heater Size |  |  | Input Rating
Meter
| Sanitary Fixture Units |  |  | Min. Size Req.
| Vent |  |  | Min. Size Req.
Grease Waste | Interceptor Size |  | Gal. |  | Lbs.
Location
| Waste Fixture Units |  |  | Min. Size Req.
| Vent Fixture Units |  |  | Min. Size Req.
Natural Gas | HVAC CFH |  | Length of Run
| Makeup Air CFH |  | from Meter
| Equipment CFH |  | Pressure
| Dom. Water CFH |  | Min. Line Size
| Total CFH |  | Regulator
Length of Run
Appliance Pressure
Min. Line Size
| Meter Location |  | Service Type |  | Direct Utility Billed
Landlord Redistribution

## TSF3 - Design Air Bal Summary
Design Air Balance Summary
Project: | [6 empty] | Date: |  |  | Revision:
Tenant Name: | [6 empty] | Space: |  |  | Rev. Date:
Level: | [6 empty] | Sq. Ft.:
HVAC Units at Minimum Outside Air
Device |  |  | Supply | Outside | Return |  | Barometric | Powered | Exhaust | Replacement | Pressure
|  |  | CFM | Air CFM | CFM |  | Relief | Relief | CFM | CFM | CFM
[7 empty] | CFM | CFM
1.
2.
3.
4.
5. | Kitchen Hood-
6. | Makeup Air Unit-
7 | Kitchen Hood-
8. | Makeup Air Unit-
9. | Dishwasher Hood
10. | Toilet Exhaust
11. | Trash Exhaust
12. | Relief Fan
TOTAL
| Replacement Air from |  |  |  |  | Transfer Fan
| the Common Area |  |  |  |  | Gravity
Total
HVAC Units at Economizer
Device |  |  | Supply | Outside | Return |  | Barometric | Powered | Exhaust | Replacement | Pressure
|  |  | CFM | Air CFM | CFM |  | Relief | Relief | CFM | CFM | CFM
[7 empty] | CFM | CFM
1.
2.
3.
4.
5. | Kitchen Hood-
6. | Makeup Air Unit-
7 | Kitchen Hood-
8. | Makeup Air Unit-
9. | Dishwasher Hood
10. | Toilet Exhaust
11. | Trash Exhaust
12. | Relief Fan
TOTAL
| Replacement Air from |  |  |  |  | Transfer Fan
| the Common Area |  |  |  |  | Gravity
Total

## TSF3V - Design Air Bal Summary
Design Air Balance Summary (Variable Air Volume)
Project: | [6 empty] | Date: |  |  | Revision:
Tenant Name: | [6 empty] | Space: |  |  | Rev. Date:
Level: | [6 empty] | Sq. Ft.:
VAV Boxes at Minimum Setpoint
Device |  |  | Supply | Outside | Return |  | Exhaust | Replacement | Pressure
|  |  | CFM | Air CFM | CFM |  | CFM | CFM | CFM
1. | VAV -
2. | VAV -
3. | VAV -
4. | VAV -
5. | Kitchen Hood-
6. | Makeup Air Unit-
7 | Kitchen Hood-
8. | Makeup Air Unit-
9. | Dishwasher Hood
10. | Toilet Exhaust
11. | Trash Exhaust
TOTAL
| Replacement Air from |  |  |  |  | Transfer Fan
| the Common Area |  |  |  |  | Gravity
Total
VAV Boxes at Maximum Setpoint
Device |  |  | Supply | Outside | Return |  | Exhaust | Replacement | Pressure
|  |  | CFM | Air CFM | CFM |  | CFM | CFM | CFM
1. | VAV -
2. | VAV -
3. | VAV -
4. | VAV -
5. | Kitchen Hood-
6. | Makeup Air Unit-
7 | Kitchen Hood-
8. | Makeup Air Unit-
9. | Dishwasher Hood
10. | Toilet Exhaust
11. | Trash Exhaust
TOTAL
| Replacement Air from |  |  |  |  | Transfer Fan
| the Common Area |  |  |  |  | Gravity
Total

## TSF4 - Plumbing Calculations
Plumbing Calculations
Project: | [7 empty] | Date: |  | Revision:
Tenant Name: | [7 empty] | Space: |  | Rev. Date:
Level: | [7 empty] | Sq. Ft.:
|  |  |  | Sanitary | Sanitary | Grease | Grease | C.W. | C.W. | Water | Water
Plumbing Fixtures |  |  | Quantity | F.U. | F.U. | F.U. | F.U. | F.U. | F.U. | Demand | Demand
|  |  |  | Each | Total | Each | Total | Each | Total | Each | Total
Water Closet
Urinal
Lavatory
Service Sink
Water Cooler
Floor Drain
Floor Sink
TOTAL
[7 empty] | Vent | Sanitary | Grease | Water
|  | Required | [5 empty] | Waste | Waste
Service Connection

## TSF5 - Gas Load Summary
Gas Load Summary
Project: | [5 empty] | Date: |  | Revision:
Tenant Name: | [5 empty] | Space: |  | Rev. Date:
Level: | [5 empty] | Sq. Ft.:
| Equipment |  |  | Quantity |  | BTU/HR | Total | Required
Pressure
Min/Max
TOTAL
Sizing Method:
| Length of Run: |  |  |  | Pressure:
Line Size:
| Regulator: |  |  |  | Location:
| Length of Run: |  |  |  | Final Equipment
Pressure:
Line Size:
[7 empty] | Service | Service
|  |  |  | BTU/HR |  | CFH | Pressure | Line Size
Total Gas
Requirements

## TFS6 - Piping Press Drop Calcs
Piping Pressure Drop Calculations
Project: |  |  |  |  | Date: |  | Revision:
Tenant Name: |  |  |  |  | Space: |  | Rev. Date:
System: |  |  |  |  | Sq. Ft.:
Section | GPM | Size | Delta-P/ | Length | Fitting | Section | Accumulated | Accumulated
|  |  | 100 Ft. |  | Equivalent | Delta-P | Equivalent | Delta-P
[5 empty] | Length |  | Length
TOTAL

## TFS7 - Ductwk Static Press Drop
Ductwork Static Pressure Drop Calculations
Project: |  |  |  |  | Date: |  | Revision:
Tenant Name: |  |  |  |  | Space: |  | Rev. Date:
System: |  |  |  |  | Sq. Ft.:
Section | CFM | Size | Delta-P/ | Length | Fitting | Section | Accumulated | Accumulated
|  |  | 100 Ft. |  | Equivalent | Delta-P | Equivalent | Delta-P
[5 empty] | Length |  | Length
TOTAL

## ESR - Electrical Checklist
Electrical Checklist for Minimum Submittal Requirements
Project: |  |  |  |  | Submittal / Date
Tenant: |  |  |  |  | 1
Space No.: |  |  |  |  | 2
Completed by: |  |  |  |  | 3
Data | Not |  | Data | Data |  | Clarify or
Supplied | Applicable |  | Not Found | Not Found |  | Amend
|  | 1 | Professional Engineer's seal and signature on all documents.
|  | 2. | Documents include tenant name and correctly identify
space and location.
|  | 3. | Systems depicted are compatible with existing conditions,
system and general scope of work required by the criteria.
|  | 4. | Calculations to support equipment sizing including:
a. Service size
b. Transformer size
c. Voltage drop when applicable
|  | 5. | Demolition plan and notes indicating removal of all systems
and components that are not reused. (No equipment or
components may be abandoned without written permission
of the Landlord.)
|  | 6. | Note requiring field verification of existing conditions.
|  | 7. | A power plan to scale including:
a. Service entrance
b. Location of all receptacles
c. Dedicated circuitry
d. Telephone outlets
e. Conduit runs
f. Conduit installed below slab
g. Transformer size and location
|  | 8. | A reflected ceiling plan to scale including:
a. Lighting fixtures with lamp types
b. Exit lighting and emergency lighting
c. Night lighting
d. Conduit runs
e. Electrical sign wiring requirements
f. Fire alarm/smoke detection locations
|  | 9. | Details, schedules and diagrams including:
a. Energy Code compliance forms (if applicable)
b. Landlord's Load Tabulation Schedule
c. Complete panel schedules
d. Fuse sizes and types
e. HVAC wiring diagram with temperature sensor location
f. Electrical riser diagram
1. Landlord distribution point
2. Tenant's main disconnect within demised Premises
3. Panel(s) and transformer size and location
4. Wire sizes
5. Transformer grounding
|  | 10. | General Electrical Notes and Specifications indicating:
a. Perimeters of contractor's responsibilities
b. First class workmanship quality of construction
c. Guarantee
d. Equipment and procedures
Additional Comments

## Electrical Load Summary
ELECTRICAL LOAD SUMMARY CHECKLIST
Project: |  |  | Date:
Tenant Name: |  |  | Space:
Zone Name: |  |  | Sq. Ft.:
| Item | Voltage | Connected | Demand | Notes
|  |  | KVA | KVA
Lighting
Receptacles
Air Handlers
Air Conditioning Units
Electric Space Heaters
Electric Water Heaters
Miscellaneous Other Loads
Total Connected Load
Design Demand Load
Estimated Billing Demand Load - Summer
Estimated Billing Demand Load - Winter
Time of Day Maximum Demand is Anticipated - Summer
Time of Day Maximum Demand is Anticipated - Winter
Store Business Hours
Additional Store Hours for Cleaning, Stocking, etc. - A.M.
Additional Store Hours for Cleaning, Stocking, etc. - P.M.